{"text_format":"1","workbook":"xlsx","n_sheets":7,"sheets":["a.ルータ設定","b.ハブ管理用IP設定","c.アクセスポイント設定","フロアハブ","d.監視サーバ設定","e.ハブポート対応表","更新履歴"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":12,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"a.ルータ設定","index":0,"n_rows":47,"n_cols":6,"rows_kept":47,"cut":false,"hidden":true,"merged":[[18,1,18,5],[25,1,25,5],[2,1,2,5],[8,1,8,5]]}
[null,"チサンイン蒲田様"]
[null,"2. 設置機器　設定情報 | a.ルータ設定"]
[null,"ルーターIPアドレス設定 "]
[null,"ルーター","IPアドレス","ネットマスク"]
[null,"WAN"]
[null,"LAN（プライマリ）","192.168.1.1","255.255.255.0",null,"ゲスト用"]
[null,"LAN（セカンダリ）","172.21.0.1","255.255.0.0",null,"NW機器管理用"]
[]
[null,"ルーターポートフォワード設定"]
[null,"ポートフォワード","プロトコル","ポート","IPアドレス","サーバー名"]
[null,"SSH","TCP","60022","172.21.0.1","ルータ"]
[null,"SSH","TCP","50022","172.21.1.120","NW監視サーバ"]
[null,"zabbix","TCP","10050,10051","172.21.1.120","NW監視サーバ"]
[null,"zabbix","UDP","10050,10051","172.21.1.120","NW監視サーバ"]
[null,"rdp","TCP","53389","172.21.1.120","NW監視サーバ"]
[null,"snmp","UDP","161","172.21.1.120","NW監視サーバ"]
[null,"www","TCP","40020","172.21.100.11","メインハブ"]
[]
[null,"ルーターポート接続表"]
[null,"WAN","ONU"]
[null,"LAN1-1","メインハブ"]
[null,"LAN1-2 ","NW監視サーバ"]
[null,"LAN1-3","-"]
[null,"LAN1-4","-"]
[]
[null,"ルーター詳細設定 "]
[null,"ログイン"]
[null,"ログインPASS","123qwe"]
[null,"SSHユーザー/PASS","mediawave/mediawave"]
[null,"DHCP"]
[null,"DHCPサーバー","on"]
[null,"割り当て","192.168.1.11～","192.168.1.250","255.255.255.0"]
[null,"個数","240"]
[null,"リース時間","6/12時間"]
[null,"SNMP"]
[null,"snmp host","172.21.0.1"]
[null,"snmp community","read-only public"]
[null,"snmp （mib2）","yrifppdisplayatmib2 on"]
[null,"snmp local address","172.21.0.1"]
[null,"SYSLOG"]
[null,"syslog host","172.210.1"]
[null,"syslog facility","local0"]
[null,"syslog notice","on"]
[null,"syslog info","on"]
[null,"syslog debug","on"]
[null,"その他"]
[null,"nat descriptor masquerade session limit 1000 1 300"]

{"sheet":"b.ハブ管理用IP設定","index":1,"n_rows":14,"n_cols":6,"rows_kept":14,"cut":false,"hidden":true,"merged":[[2,1,2,5]]}
[null,"チサンイン蒲田様"]
[null,"2. 設置機器　設定情報 | b.ハブ管理用IP設定"]
[null,"ハブ管理用IP設定"]
[null,"ハブ","設置場所","機種","管理用IPアドレス","備考"]
[null,"メインハブ","1F","D-Link DGS-1100-24V2/A2","172.21.100.11/16","共有：21,22,23,24"]
[null,"ハブ共通設定項目","設定値"]
[null,"ログインID/PASS","admin/123qwe"]
[null,"GW","172.21.0.1"]
[null,"Loopback Detection","共有ポート以外ON","※メインハブのフロア幹線OFF"]
[null,"DHCP Server Screening","共有ポート以外OFF"]
[null,"SNTP Server","172.21.0.1"]
[null,"SNMP Host","172.21.0.1"]
[null,"SysLog Host","172.21.0.1"]
[null,"SysLog Facility","local1"]

{"sheet":"c.アクセスポイント設定","index":2,"n_rows":106,"n_cols":6,"rows_kept":106,"cut":false,"hidden":false,"merged":[[2,1,2,5],[7,1,7,5]]}
[null,"プロスタイル横浜馬車道様"]
[null,"2. 設置機器　設定情報 | c.アクセスポイント設定"]
[null,"WiFi 接続情報"]
[null,"SSID1（2.4GHz）","PROSTYLE-R-YB-2.4","KEY","pr0456622222"]
[null,"SSID1（5GHz）","PROSTYLE-R-YB","KEY","pr0456622222"]
[null,"Wi-Fi規格","IEEE802.11 a/b/g/n/ac 準拠"]
[]
[null,"無線AP"]
[null,"AP名","設置場所","機種","管理用IPアドレス","備考"]
[null,"AP201","201号室","NEC WG-1200HS4","172.21.202.1"]
[null,"AP202","202号室","NEC WG-1200HS4","172.21.202.2"]
[null,"AP203","203号室","NEC WG-1200HS4","172.21.202.3"]
[null,"AP204","204号室","NEC WG-1200HS4","172.21.202.4"]
[null,"AP205","205号室","NEC WG-1200HS4","172.21.202.5"]
[null,"AP206","206号室","NEC WG-1200HS4","172.21.202.6"]
[null,"AP207","207号室","NEC WG-1200HS4","172.21.202.7"]
[null,"AP208","208号室","NEC WG-1200HS4","172.21.202.8"]
[null,"AP209","209号室","NEC WG-1200HS4","172.21.202.9"]
[null,"AP210","210号室","NEC WG-1200HS4","172.21.202.10"]
[null,"-","211号室","-","-","リネン倉庫のため設置なし"]
[null,"AP301","301号室","NEC WG-1200HS4","172.21.203.1"]
[null,"AP302","302号室","NEC WG-1200HS4","172.21.203.2"]
[null,"AP303","303号室","NEC WG-1200HS4","172.21.203.3"]
[null,"AP304","304号室","NEC WG-1200HS4","172.21.203.4"]
[null,"AP305","305号室","NEC WG-1200HS4","172.21.203.5"]
[null,"AP306","306号室","NEC WG-1200HS4","172.21.203.6"]
[null,"AP307","307号室","NEC WG-1200HS4","172.21.203.7"]
[null,"AP308","308号室","NEC WG-1200HS4","172.21.203.8"]
[null,"AP309","309号室","NEC WG-1200HS4","172.21.203.9"]
[null,"AP310","310号室","NEC WG-1200HS4","172.21.203.10"]
[null,"AP311","311号室","NEC WG-1200HS4","172.21.203.11"]
[null,"AP401","401号室","NEC WG-1200HS4","172.21.204.1"]
[null,"AP402","402号室","NEC WG-1200HS4","172.21.204.2"]
[null,"AP403","403号室","NEC WG-1200HS4","172.21.204.3"]
[null,"AP404","404号室","NEC WG-1200HS4","172.21.204.4"]
[null,"AP405","405号室","NEC WG-1200HS4","172.21.204.5"]
[null,"AP406","406号室","NEC WG-1200HS4","172.21.204.6"]
[null,"AP407","407号室","NEC WG-1200HS4","172.21.204.7"]
[null,"AP408","408号室","NEC WG-1200HS4","172.21.204.8"]
[null,"AP409","409号室","NEC WG-1200HS4","172.21.204.9"]
[null,"AP410","410号室","NEC WG-1200HS4","172.21.204.10"]
[null,"AP411","411号室","NEC WG-1200HS4","172.21.204.11"]
[null,"AP501","501号室","NEC WG-1200HS4","172.21.205.1"]
[null,"AP502","502号室","NEC WG-1200HS4","172.21.205.2"]
[null,"AP503","503号室","NEC WG-1200HS4","172.21.205.3"]
[null,"AP504","504号室","NEC WG-1200HS4","172.21.205.4"]
[null,"AP505","505号室","NEC WG-1200HS4","172.21.205.5"]
[null,"AP506","506号室","NEC WG-1200HS4","172.21.205.6"]
[null,"AP507","507号室","NEC WG-1200HS4","172.21.205.7"]
[null,"AP508","508号室","NEC WG-1200HS4","172.21.205.8"]
[null,"AP509","509号室","NEC WG-1200HS4","172.21.205.9"]
[null,"AP510","510号室","NEC WG-1200HS4","172.21.205.10"]
[null,"AP511","511号室","NEC WG-1200HS4","172.21.205.11"]
[null,"AP601","601号室","NEC WG-1200HS4","172.21.206.1"]
[null,"AP602","602号室","NEC WG-1200HS4","172.21.206.2"]
[null,"AP603","603号室","NEC WG-1200HS4","172.21.206.3"]
[null,"AP604","604号室","NEC WG-1200HS4","172.21.206.4"]
[null,"AP605","605号室","NEC WG-1200HS4","172.21.206.5"]
[null,"AP606","606号室","NEC WG-1200HS4","172.21.206.6"]
[null,"AP607","607号室","NEC WG-1200HS4","172.21.206.7"]
[null,"AP608","608号室","NEC WG-1200HS4","172.21.206.8"]
[null,"AP609","609号室","NEC WG-1200HS4","172.21.206.9"]
[null,"AP610","610号室","NEC WG-1200HS4","172.21.206.10"]
[null,"AP611","611号室","NEC WG-1200HS4","172.21.206.11"]
[null,"AP701","701号室","NEC WG-1200HS4","172.21.207.1"]
[null,"AP702","702号室","NEC WG-1200HS4","172.21.207.2"]
[null,"AP703","703号室","NEC WG-1200HS4","172.21.207.3"]
[null,"AP704","704号室","NEC WG-1200HS4","172.21.207.4"]
[null,"AP705","705号室","NEC WG-1200HS4","172.21.207.5"]
[null,"AP706","706号室","NEC WG-1200HS4","172.21.207.6"]
[null,"AP707","707号室","NEC WG-1200HS4","172.21.207.7"]
[null,"AP708","708号室","NEC WG-1200HS4","172.21.207.8"]
[null,"AP709","709号室","NEC WG-1200HS4","172.21.207.9"]
[null,"AP710","710号室","NEC WG-1200HS4","172.21.207.10"]
[null,"AP711","711号室","NEC WG-1200HS4","172.21.207.11"]
[null,"AP801","801号室","NEC WG-1200HS4","172.21.208.1"]
[null,"AP802","802号室","NEC WG-1200HS4","172.21.208.2"]
[null,"AP803","803号室","NEC WG-1200HS4","172.21.208.3"]
[null,"AP804","804号室","NEC WG-1200HS4","172.21.208.4"]
[null,"AP805","805号室","NEC WG-1200HS4","172.21.208.5"]
[null,"AP806","806号室","NEC WG-1200HS4","172.21.208.6"]
[null,"AP807","807号室","NEC WG-1200HS4","172.21.208.7"]
[null,"AP808","808号室","NEC WG-1200HS4","172.21.208.8"]
[null,"AP809","809号室","NEC WG-1200HS4","172.21.208.9"]
[null,"AP810","810号室","NEC WG-1200HS4","172.21.208.10"]
[null,"AP811","811号室","NEC WG-1200HS4","172.21.208.11"]
[null,"AP901","901号室","NEC WG-1200HS4","172.21.209.1"]
[null,"AP902","902号室","NEC WG-1200HS4","172.21.209.2"]
[null,"AP903","903号室","NEC WG-1200HS4","172.21.209.3"]
[null,"AP904","904号室","NEC WG-1200HS4","172.21.209.4"]
[null,"AP905","905号室","NEC WG-1200HS4","172.21.209.5"]
[null,"AP906","906号室","NEC WG-1200HS4","172.21.209.6"]
[null,"AP907","907号室","NEC WG-1200HS4","172.21.209.7"]
[null,"AP908","908号室","NEC WG-1200HS4","172.21.209.8"]
[null,"AP909","909号室","NEC WG-1200HS4","172.21.209.9"]
[null,"AP910","910号室","NEC WG-1200HS4","172.21.209.10"]
[null,"AP911","911号室","NEC WG-1200HS4","172.21.209.11"]
[null,"AP1001","1001号室","NEC WG-1200HS4","172.21.210.1"]
[null,"AP1002","1002号室","NEC WG-1200HS4","172.21.210.2"]
[null,"AP1003","1003号室","NEC WG-1200HS4","172.21.210.3"]
[null,"AP1004","1004号室","NEC WG-1200HS4","172.21.210.4"]
[null,"AP1005","1005号室","NEC WG-1200HS4","172.21.210.5"]
[null,"AP1006","1006号室","NEC WG-1200HS4","172.21.210.6"]
[null,"AP_Yobi1","予備機_No.1","NEC WG-1200HS4","172.21.200.1","ロビー入口点検口内"]
[null,"AP_Yobi2","予備機_No.2","NEC WG-1200HS4","172.21.200.2","サーバーラック内"]
[null,"AP_Yobi3","予備機_No.3","NEC WG-1200HS4","172.21.200.3"]

{"sheet":"フロアハブ","index":3,"n_rows":80,"n_cols":25,"rows_kept":80,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,null,null,null,"各フロアのEPS(2か所)にフロアハブあり(アライド製)"]
[null,null,null,null,null,"緑が客室行きの幹線",null,null,null,null,null,"監視対象機器"]
[null,null,null,null,null,"水色がメインハブからの幹線",null,null,null,null,null,"ゲスト用ルータ"]
[null,null,null,null,null,"青は接続あるもリンクアップしないため対向の機器なし",null,null,null,null,null,"メインハブ（ヤマハ）"]
[null,null,null,null,null,"色分けはケーブルの色",null,null,null,null,null,"客室AP(Aterm)"]
[null,null,null,null,null,"番号はポートNo."]
[]
[]
[null,null,null,null,"2F フロアハブ②",null,null,null,null,null,"2Fフロアハブ①",null,null,null,null,null,"6F フロアハブ②",null,null,null,null,"6Fフロアハブ①"]
[null,null,null,null,1,"204(down)",2,"204(up)",null,null,1,"201(down)",2,"201(up)",null,null,1,"604(down)",2,"604(up)",null,1,"601(down)",2,"601(up)"]
[null,null,null,null,3,"205(down)","4","205(up)",null,null,3,"202(down)","4","202(up)",null,null,3,"605(down)","4","605(up)",null,3,"602(down)","4","602(up)"]
[null,null,null,null,5,"206(down)","6","206(up)",null,null,5,"203(down)","6","203(up)",null,null,5,"606(down)","6","606(up)",null,5,"603(down)","6","603(up)"]
[null,null,null,null,7,"207(down)","8","207(up)",null,null,7,"210(down)","8","210(up)",null,null,7,"607(down)","8","607(up)",null,7,"610(down)","8","610(up)"]
[null,null,null,null,9,"008(down)","10","208(up)",null,null,9,"211(down)","10","211(up)",null,null,9,"608(down)","10","608(up)",null,9,"611(down)","10","611(up)"]
[null,null,null,null,11,"209(down)","12","209(up)",null,null,11,"空き","12","空き",null,null,11,"609(down)","12","609(up)",null,11,"リネン(down)","12","空き"]
[null,null,null,null,13,"空き","14","空き",null,null,13,"リネン(down)","14","空き",null,null,13,"空き","14","空き",null,13,"空き","14","空き"]
[null,null,null,null,15,"2-3(UP)","16","2-4(down)",null,null,15,"2-1(UP)","16","2-2(down)",null,null,15,"6-3(UP)","16","6-4(down)",null,15,"6-1(UP)","16","6-2(down)"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"172.16.255.170",null,null,null,null,"172.16.255.169"]
[null,null,null,null,"172.16.255.162",null,null,null,null,null,"172.16.255.161",null,null,null,null,null,"06F-02",null,null,null,null,"06F-01"]
[null,null,null,null,"02F-02",null,null,null,null,null,"02F-01"]
[]
[]
[]
[]
[null,null,null,null,"3F フロアハブ②",null,null,null,null,null,"3Fフロアハブ①",null,null,null,null,null,"7F フロアハブ②",null,null,null,null,"7Fフロアハブ①"]
[null,null,null,null,1,"304(down)",2,"304(up)",null,null,1,"301(down)",2,"ポート不良",null,null,1,"704(down)",2,"704(up)",null,1,"701(down)",2,"701(up)"]
[null,null,null,null,3,"305(down)","4","305(up)",null,null,3,"302(down)","4","301(up)",null,null,3,"705(down)","4","705(up)",null,3,"702(down)","4","702(up)"]
[null,null,null,null,5,"306(down)","6","306(up)",null,null,5,"303(down)","6","302(up)",null,null,5,"706(down)","6","706(up)",null,5,"703(down)","6","703(up)"]
[null,null,null,null,7,"307(down)","8","307(up)",null,null,7,"310(down)","8","303(up)",null,null,7,"707(down)","8","707(up)",null,7,"710(down)","8","710(up)"]
[null,null,null,null,9,"308(down)","10","308(up)",null,null,9,"311(down)","10","310(up)",null,null,9,"708(down)","10","708(up)",null,9,"711(down)","10","711(up)"]
[null,null,null,null,11,"309(down)","12","309(up)",null,null,11,"不明(down)","12","311(up)",null,null,11,"709(down)","12","709(up)",null,11,"リネン(down)","12","空き"]
[null,null,null,null,13,"空き","14","空き",null,null,13,"空き","14","空き",null,null,13,"空き","14","空き",null,13,"空き","14","空き"]
[null,null,null,null,15,"3-3(UP)","16","3-4(down)",null,null,15,"3-1(UP)","16","3-2(down)",null,null,15,"7-3(UP)","16","7-4(down)",null,15,"7-1(UP)","16","7-2(down)"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"172.16.255.172",null,null,null,null,"172.16.255.171"]
[null,null,null,null,"172.16.255.164",null,null,null,null,null,"172.16.255.163",null,null,null,null,null,"07F-02",null,null,null,null,"07F-01"]
[null,null,null,null,"03F-02",null,null,null,null,null,"03F-01"]
[]
[]
[]
[null,null,null,null,"4F フロアハブ②",null,null,null,null,null,"4Fフロアハブ①"]
[null,null,null,null,1,"404(down)",2,"404(up)",null,null,1,"401(down)",2,"401(up)",null,null,"8F フロアハブ②",null,null,null,null,"8Fフロアハブ①"]
[null,null,null,null,3,"405(down)","4","405(up)",null,null,3,"402(down)","4","402(up)",null,null,1,"804(down)",2,"804(up)",null,1,"801(down)",2,"801(up)"]
[null,null,null,null,5,"406(down)","6","406(up)",null,null,5,"403(down)","6","403(up)",null,null,3,"805(down)","4","805(up)",null,3,"802(down)","4","802(up)"]
[null,null,null,null,7,"407(down)","8","407(up)",null,null,7,"410(down)","8","410(up)",null,null,5,"806(down)","6","806(up)",null,5,"803(down)","6","803(up)"]
[null,null,null,null,9,"308(down)","10","408(up)",null,null,9,"411(down)","10","411(up)",null,null,7,"807(down)","8","807(up)",null,7,"810(down)","8","810(up)"]
[null,null,null,null,11,"309(down)","12","409(up)",null,null,11,"空き","12","空き",null,null,9,"808(down)","10","808(up)",null,9,"811(down)","10","811(up)"]
[null,null,null,null,13,"空き","14","空き",null,null,13,"リネン(down)","14","空き",null,null,11,"809(down)","12","809(up)",null,11,"リネン(down)","12","空き"]
[null,null,null,null,15,"4-3(UP)","16","4-4(down)",null,null,15,"4-1(UP)","16","4-2(down)",null,null,13,"空き","14","空き",null,13,"空き","14","空き"]
[null,null,null,null,"172.16.255.166",null,null,null,null,null,"172.16.255.165",null,null,null,null,null,15,"8-3(UP)","16","8-4(down)",null,15,"8-1(UP)","16","8-2(down)"]
[null,null,null,null,"04F-02",null,null,null,null,null,"04F-01",null,null,null,null,null,"172.16.255.174",null,null,null,null,"172.16.255.173"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"08F-02",null,null,null,null,"08F-01"]
[]
[]
[]
[]
[null,null,null,null,"5F フロアハブ②",null,null,null,null,null,"5Fフロアハブ①",null,null,null,null,null,"9F フロアハブ②",null,null,null,null,"9Fフロアハブ①"]
[null,null,null,null,1,"504(down)",2,"504(up)",null,null,1,"501(down)",2,"501(up)",null,null,1,"904(down)",2,"904(up)",null,1,"901(down)",2,"901(up)"]
[null,null,null,null,3,"505(down)","4","505(up)",null,null,3,"502(down)","4","502(up)",null,null,3,"905(down)","4","905(up)",null,3,"902(down)","4","902(up)"]
[null,null,null,null,5,"506(down)","6","506(up)",null,null,5,"503(down)","6","503(up)",null,null,5,"906(down)","6","906(up)",null,5,"903(down)","6","903(up)"]
[null,null,null,null,7,"507(down)","8","507(up)",null,null,7,"510(down)","8","510(up)",null,null,7,"907(down)","8","907(up)",null,7,"910(down)","8","910(up)"]
[null,null,null,null,9,"508(down)","10","508(up)",null,null,9,"511(down)","10","511(up)",null,null,9,"908(down)","10","908(up)",null,9,"911(down)","10","911(up)"]
[null,null,null,null,11,"509(down)","12","509(up)",null,null,11,"空き","12","空き",null,null,11,"909(down)","12","909(up)",null,11,"リネン(down)","12","空き"]
[null,null,null,null,13,"空き","14","空き",null,null,13,"リネン(down)","14","空き",null,null,13,"空き","14","空き",null,13,"空き","14","空き"]
[null,null,null,null,15,"5-3(UP)","16","5-4(down)",null,null,15,"5-1(UP)","16","5-2(down)",null,null,15,"9-3(UP)","16","9-4(down)",null,15,"9-1(UP)","16","9-2(down)"]
[null,null,null,null,"172.16.255.166",null,null,null,null,null,"172.16.255.167",null,null,null,null,null,"172.16.255.176",null,null,null,null,"172.16.255.175"]
[null,null,null,null,"5F-02",null,null,null,null,null,"05F-01",null,null,null,null,null,"09F-02",null,null,null,null,"09F-01"]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"10F フロアハブ②",null,null,null,null,"10Fフロアハブ①"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,1,"1003(down)",2,"1003(up)",null,1,"1001(down)",2,"1001(up)"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,3,"1004(down)","4","1004(up)",null,3,"1002(down)","4","1002(up)"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,5,"1005(down)","6","1005(up)",null,5,"1006(down)","6","1006(up)"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,7,"空き","8","空き",null,7,"リネン(down)","8","空き"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,9,"空き","10","空き",null,9,"1002(down)","10","1002(down)"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,11,"空き","12","空き",null,11,"空き","12","空き"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,13,"空き","14","空き",null,13,"空き","14","空き"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,15,"4-3(UP)","16","4-4(down)",null,15,"10-1(UP)","16","10-2(down)"]
[]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"172.16.255.178",null,null,null,null,"172.16.255.177"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"10F-02",null,null,null,null,"10F-01"]

{"sheet":"d.監視サーバ設定","index":4,"n_rows":25,"n_cols":5,"rows_kept":25,"cut":false,"hidden":true,"merged":[[2,1,2,5],[4,2,4,3],[8,1,8,5],[19,1,19,5]]}
[null,"チサンイン蒲田様"]
[null,"2. 設置機器　設定情報 | d.監視サーバ設定"]
[null,"死活監視アカウント情報(grafana)"]
[null,"項目","設定値"]
[null,"管理URL","http://smart.mediawave.work/grafana/"]
[null,"ユーザー名","chisun-kamata"]
[null,"パスワード","chisunkamata2022"]
[]
[null,"zabbix-proxy設定 "]
[null,"項目","設定値"]
[null,"ProxyMode","1","DBName","zabbix"]
[null,"Server","160.16.75.102","DBUser","zabbix"]
[null,"Hostname","CL-ChisuninKamata-Proxy","DBPassword","zabbixdbpw@4790"]
[null,"LogFileSize","16"]
[null,"ProxyOfflineBuffer","168"]
[null,"StartPollers","10"]
[null,"StartPingers","20"]
[null,"StartSNMPTrapper","1"]
[]
[null,"zabbix-agent設定 "]
[null,"項目","設定値"]
[null,"Server","172.21.1.120","UnsafeUserParameters","1"]
[null,"ServerActive","172.21.1.120"]
[null,"Hostname","CL-ChisuninKamata-Proxy"]
[null,"AllowRoot","1"]

{"sheet":"e.ハブポート対応表","index":5,"n_rows":94,"n_cols":7,"rows_kept":94,"cut":false,"hidden":true,"merged":[[38,1,38,6],[39,1,39,2],[39,3,39,4],[39,5,39,6],[57,1,57,6],[76,1,76,6],[77,1,77,2],[77,3,77,4],[77,5,77,6],[58,1,58,2],[58,3,58,4],[58,5,58,6],[12,5,12,6],[4,5,4,6],[4,3,4,4],[4,1,4,2],[3,1,3,6],[11,1,11,6],[12,1,12,2],[12,3,12,4]]}
[null,"チサンイン蒲田様"]
[null,"2. 設置機器　設定情報 | e.ハブポート対応表"]
[]
[null,"ハブポート対応一覧"]
[null,"メインルータ(RTX830 1Fスタッフ控室)"]
[null,"LAN1","メインハブ"]
[null,"LAN2"]
[null,"LAN3","-"]
[null,"LAN4","-"]
[null,"WAN","ONU"]
[]
[null,"ハブポート対応一覧"]
[null,"メインハブ（1Fスタッフ控室）",null,"2Fフロアハブ",null,"3Fフロアハブ"]
[null,"1",null,"1","201","1","301"]
[null,"2","2Fフロアハブ","2","202","2","302"]
[null,"3",null,"3","203","3","303"]
[null,"4",null,"4","204","4","304"]
[null,"5",null,"5","205","5","305"]
[null,"6",null,"6","206","6","306"]
[null,"7",null,"7","207","7","307"]
[null,"8",null,"8","-","8","-"]
[null,"9",null,"9","-","9","-"]
[null,"10",null,"10","-","10","-"]
[null,"11",null,"11","-","11","-"]
[null,"12",null,"12","-","12","-"]
[null,"13","-","13","-","13","-"]
[null,"14","-","14","3Fフロアハブ","14","4Fフロアハブ"]
[null,"15","-","15","-","15","-"]
[null,"16","-","16","メインハブport2","16","2Fフロアハブ"]
[null,"17","-"]
[null,"18","-"]
[null,"19","-"]
[null,"20","-"]
[null,"21"]
[null,"22"]
[null,"23","NW死活監視サーバ"]
[null,"24","ルーター"]
[]
[null,"ハブポート対応一覧"]
[null,"4Fフロアハブ",null,"5Fフロアハブ",null,"6Fフロアハブ"]
[null,"1","401","1","501","1","601"]
[null,"2","402","2","502","2","602"]
[null,"3","403","3","503","3","603"]
[null,"4","404","4","504","4","604"]
[null,"5","405","5","505","5","605"]
[null,"6","406","6","506","6","606"]
[null,"7","407","7","507","7","607"]
[null,"8","-","8","-","8","-"]
[null,"9","-","9","-","9","-"]
[null,"10","-","10","-","10","-"]
[null,"11","-","11","-","11","-"]
[null,"12","-","12","-","12","-"]
[null,"13","-","13","-","13","-"]
[null,"14","5Fフロアハブ","14","6Fフロアハブ","14","-"]
[null,"15","-","15","-","15","-"]
[null,"16","3Fフロアハブ","16","4Fフロアハブ","16","5Fフロアハブ"]
[]
[null,"ハブポート対応一覧"]
[null,"7Fフロアハブ",null,"8Fフロアハブ",null,"9Fフロアハブ"]
[null,"1","701","1","801","1","901"]
[null,"2","702","2","802","2","902"]
[null,"3","703","3","803","3","903"]
[null,"4","704","4","804","4","904"]
[null,"5","705","5","805","5","905"]
[null,"6","706","6","806","6","906"]
[null,"7","707","7","807","7","-"]
[null,"8","-","8","-","8","-"]
[null,"9","-","9","-","9","-"]
[null,"10","-","10","-","10","-"]
[null,"11","-","11","-","11","-"]
[null,"12","-","12","-","12","-"]
[null,"13","-","13","-","13","-"]
[null,"14","8Fフロアハブ","14","9Fフロアハブ","14","10Fフロアハブ"]
[null,"15","-","15","-","15","-"]
[null,"16","メインハブ","16","7Fフロアハブ","16","8Fフロアハブ"]
[]
[null,"ハブポート対応一覧"]
[null,"10Fフロアハブ",null,"11Fフロアハブ",null,"12Fフロアハブ"]
[null,"1","1001","1","1101","1","1201"]
[null,"2","1002","2","1102","2","1202"]
[null,"3","1003","3","1103","3","1203"]
[null,"4","1004","4","1104","4","1204"]
[null,"5","1005","5","1105","5","-"]
[null,"6","-","6","-","6","-"]
[null,"7","-","7","-","7","-"]
[null,"8","-","8","-","8","-"]
[null,"9","-","9","-","9","-"]
[null,"10","-","10","-","10","-"]
[null,"11","-","11","-","11","-"]
[null,"12","-","12","-","12","-"]
[null,"13","-","13","-","13","-"]
[null,"14","11Fフロアハブ","14","12Fフロアハブ","14","-"]
[null,"15","-","15","-","15","-"]
[null,"16","9Fフロアハブ","16","10Fフロアハブ","16","11Fフロアハブ"]

{"sheet":"更新履歴","index":6,"n_rows":11,"n_cols":5,"rows_kept":11,"cut":false,"hidden":true,"merged":[[3,4,4,4],[3,0,6,0],[3,2,5,2],[8,0,10,0],[3,1,10,1],[8,2,10,2],[9,3,10,3],[3,3,4,3]]}
["更新履歴"]
[]
["更新日","更新者","更新対象","更新項目","更新内容"]
["2022.04.07","清水","IPアドレス設定表","ルータポートフォワード設定","zabbixのポート(10050,10051|TCP&UDP)を監視サーバー(192.168.123.120)に設定\n上記設定に伴い、VODサーバーのVIP(192.168.123.110)への設定は削除"]
[]
[null,null,null,"ルーターIPアドレス設定","WANにグローバルIPアドレスを追加"]
[null,null,"AP設定情報","無線AP(予備３台)","無線APの予備機としてAP_Yobi1～3を追加"]
["2022.04.12",null,"IPアドレス設定表","DHCP","リース時間を「12h/24h」→「6h/12h」に変更"]
["2022.04.15",null,"IPアドレス設定表","ルータポートフォワード設定","監視サーバ(VNC)のIPアドレスを192.168.123.120に変更"]
[null,null,null,"ルータ詳細設定","snmp hostのIPアドレスを192.168.123.120に変更"]
[null,null,null,null,"syslog hostのIPアドレスを192.168.123.120に変更"]